## Tabell
| Date | Partial | Full | Time Align | Calib Factor | Measured Randoms | Scanner Efficiency | Scatter Ratio | ECF | Time Alignment Residual | Time Alignment fit x | Time Alignment fit y | Phantom Pos x | Phantom Pos y |  | relativ ECF
[6 empty] | [%] | [cps/Bq/cc] | [%] | [Bq*s/ECAT counts] | [mm] | [mm] | [mm] | [mm] | [mm]
first date | 0 |  |  |  |  | 115 | 47.32 | 35.2 | 40000000 | 3 | 2 | 2 |  |  | Upper Bound
last date | 0 |  |  |  |  | 85 | 25.48 | 28.8 | 20000000 | 0 | 0 | 0 |  |  | Lower Bound